## Sheet1
RELATIVE HUMIDITY CALCULATOR Version 20.20
Instructions
1. Enter values in the appropriate cells
2. Atmospheric pressure is assumed to be 101.3 kPa (29.9 inches of mercury)
Calculate Relative Humidity
DRY BULB, F | 175 | Tdb, c | 79.4444
WET BULB, F | 150 | Twb, c | 65.5556
RH | 53.19% | P | 101.3
|  | A | 0.0006795
|  | eswb | 25.6919
|  | ed | 24.7359
|  | esdb | 46.5077